## Sheet1
Day | Equipment | Consumables | Reagents/stocks (all to be made with MilliQ water and 0.2 um filtered)
-2 and -1 | Vaccum pump | pH strips | 0.5 L of 1 M HEPES pH 7.5
| 0.2 um nylon filters (Steri-cup bottle-top filter or filter membranes and bottle-top assembly) | 0.2 g of reduced glutathione (to pre-weight 153.7 mg) | 1 L of 5 M NaCl
| 5 x 500 mL Schott/Duran bottles | 5 x aliquots of BL21 or BL21 pLysS competent cells | 100 mL of 2 M imidazole pH 7.5
| 500 mL measuring cylinder | Ethanol | ~1 mL of 5 N NaOH
| 250 mL measuring cylinder | Spreader | 5 x agar plates with 100 ug/mL ampicillin plus 20 ug/mL chloramphenicol
| 100 mL measuring cylinder | Labelling tape plus marker pens | 100 mL of 2xTY
| Ice and ice bucket | Gloves
Static 37C incubator
Bunsen
42C water/heat bath
1 | 5 x 500 mL or 1 L Erlenmeyer flasks | 1 mL cuvettes or plate for measuring culture ODs | 2 L of 2xTY medium
| Visible spectrophotometer / plate reader |  | 1 mL of 100 mg/mL ampicillin
| Shaking coolable incubator |  | 1 mL of 20 mg/mL chloramphenicol
| P1000 pipette plus tips |  | 2 mL of 0.4M IPTG
2 | 5 x 250 mL Schott/Duran bottles | 25 x 10 mL serological pipettes | Virkon (etc.) for decontaminating flasks
| 5 x 100 mL measuring cylinders | 4 x 25 mL serological pipettes
| 5 x 250 mL measuring cylinders | Parafilm + foil
| 5 x 1L measuring cylinders | Labelling tape plus marker pens
5 x P1000 pipettes plus tips
5 x pipettors (pipette boys)
50 mL falcon tubes
Swing-out centrifuge to harvest pellets
-20 or -80 freezer
3 | 5 x pipettors (pipette boys) | 6 x 10 mL serological pipettes | 400U Bovine DNAse I (sigma D4527-10KU)
| vortex | Hen egg-white lysozyme powder (a small amount, ~50 mg) | 200 uL Sigma EDTA-free protease inhibitors (P8849-1ML)
| PCR machine for boiling gel samples | 50 mL falcon tubes | 5 mL 10% TWEEN-20
| High-speed centrifuge for clearing lysate | PCR tubes | 1 mL 0.5 M MgCl2
| 6 x tubes for high speed centrifuge to clear lysates | Plastic pasteur pipettes | 5 x 100 mL MilliQ water
| Sonicator | 10 mL of NiNTA agarose (smallest bottle is 25 mL, Qiagen 30210) | 5 x 100 mL 20% Ethanol
| 5 x retort stands and clamps | 2 mL of glutathione sepharose 4B (Cytiva 17-0756-01) | 100 mL 6 M guanidine hydrochloride plus 0.2 M acetic acid, 0.45 um filtered
| 5 x econo-columns plus taps | 1.5 mL eppendorf tubes | 20 mL of 6 M guanidine hydrochloride, 0.45 um filtered
| 10 x dialysis clips (or string) | Clear-bottom 96-well plates (Greiner 655101) - optional | 5X SDS-PAGE loading buffer => | 5× SDS PAGE loading buffer (10 mL)
| 2 x 2L beakers | Bio-Rad Protein Assay Dye Reagent Concentrate (Bio-Rad 5000001) |  | 5 mL 0.5 M Tris pH 6.8
| Magnetic flea | 3.5 kDa MWCO Snakeskin dialysis tubing (68035) |  | 1 g SDS
| Magnetic stirrer | 15 mL falcon tubes for resin storage |  | 2.5 mL 100% glycerol
| Refrigerated benchtop centrifuge | 6 x 10 mL syringes |  | 2 mg Bromophenol Blue
| Swing-out centrifuge for 50 mL tubes | 5 mL polypropylene fraction collection tubes (greiner 115201) |  | 2 mL MQW
| Test-tube racks for eluted proteins | 2 mL eppendorf tubes |  | 500 uL 2-mercaptoethanol
| 5 x P10 or P20 pipettes plus tips | 5 x 5 mL syringes
| 5 x P200 pipettes plus tips | 5 x blunt canulas (Braun/Sterican 9180109) |  | SDS-PAGE ingredients
|  | 5 x 15 mL 10 kDa MWCO amicon concentrators (UFC901024) |  | 30% w/v 37.5:1 acrylamide:bis-acrylamide
|  | Cling film (a.k.a. Sarin wrap) |  | 10% w/v APS
TEMED
4 | 5 x SDS-PAGE casting stands | Cling film | SDS-PAGE ingredients for making 15% gels (30% w/v 37.5:1 acrylamide:bis-acrylamide, 10% w/v APS, TEMED, 10% SDS, 1.5 M Tris pH 8.8, 0.5 M Tris pH 6.5) | 10% SDS
| 5 x 15-well combs + 5 x 10-well combs | Paper towel |  | 1.5 M Tris pH 8.8
| 10 x SDS-PAGE plates (short and spacer, 0.75 mm ideally but 1 mm also fine) |  |  | 0.5 M Tris pH 6.5
5 | Power packs for 5 gels | Protein standards for SDS-PAGE | 2.5 L SDS-PAGE running buffer => | 5× SDS-PAGE Running Buffer (1L)
| Gel running boxes for 5 gels |  | Coomassie stain => | ● 15 g Tris base
| Square petri dishes or boxes for staining gels (e.g. Sterilin 100mm Square Petri dish, #109-17) |  | Destain => | ● 72 g Glycine
| Spatulas for taking gels out |  |  | ● 5 g SDS powder (or 50 mL 10% w/v SDS)
| 6 x P10 or P20 pipettes plus tips |  |  | ● RO water to 1L
Coomassie stain (500 mL)
SPR | Biacore T200 SPR | Series S CM5 surface BR-1005-30 | 1 L HBS-EP+ buffer ==> | ● 1.25 g Coomassie Brilliant Blue R250
| P1000, P200, P20 and P10 pipettes + tips | 300 uL 1.0 M Ethanolamine-HCl pH 8.5 | 10 mM Glycine pH 2.0 | ● 250 mL Ethanol
|  | EDC & NHS (Biacore Amine Coupling Kit - BR100050) | 10 mM Sodium Acetate pH 5.0 | ● 50 mL Glacial acetic acid
|  | 10X 7 mm Plastic Vials [Biacore BR-1002-12] |  | ● 200 mL RO water
10X Type 3 Rubber caps [Biacore BR-1005-02]
|  | 1.5 mL capless eppendorf tubes [Starstedt 72.696] |  | Destain (5 L)
|  | Type 2 orange rubber caps [Biacore BR-1004-11] |  | ● 500 mL Ethanol
● 500 mL Glacial acetic acid
6 | Small (benchtop) centrifuge | 1.5 mL eppendorf tubes | 50 mL pull-down buffer | ● 4L RO water
| 5 x P10 pipettes plus tips | PCR tubes | >2.5 mL SDS-PAGE loading buffer
| 5 x P200 pipettes plus tips | 1.5 mL GSH resin (for 4X pull-downs using 50 uL slurry per group, GFP and other fluorescent protein with GST-nanobody and GST-control) | 2.5 L SDS-PAGE running buffer | HBS-EP+ buffer
| vortex |  | Coomassie stain | 10 mM HEPES
| PCR machine for boiling gel samples |  | Destain | 150 mM NaCl
| Rotating wheel for incubating pull-down samples (more than one ideally) |  |  | 3 mM EDTA
| scissors | Protein standards for SDS-PAGE |  | 0.05% v/v TWEEN-20
Blunt tweezers (for crushing P10 tips)
7 | P200 pipette plus tips | 60X 7 mm Plastic Vials [Biacore BR-1002-12] | 20 mL HBS-EP+ buffer
| P20 pipette plus tips | 60X Type 3 Rubber caps [Biacore BR-1005-02] | 10 mM Glycine pH 2.0
12X 1.5 mL capless eppendorf tubes [Starstedt 72.696]
12X Type 2 orange rubber caps [Biacore BR-1004-11]
1.5 mL Eppendorf tubes